| CENTRIFUGAL PUMP SIZING |
| --- |
| Service: | Pump number: |
| Fluid | WATER | Suction side of pump |
| Viscosity (cSt) | 1.13 | Pump suction elevation (ft) |
|  | Temperature (f) | 70 | Suction fluid surface elevation min. (ft) |
|  | Specific gravity | 1.0 | Suction fluid surface pressure (ft fluid) |
|  | Discharge side of pump |
| Discharge surface elevation max. or discharge pipe end elevation (ft) |
|  | Atmospheric pressure (ft water) | 32.8 | Surface pressure in discharge tank or pipe end pressure (ft fluid) |
|  | Vapor pressure (ft water) | 22 |
| Pipe roughness RMS (ft) | .00015 |
| 1. Design flow (USgpm) | 750 | Comments: |
| 2. Flow contingency % (applied on 1.) | 0 |
|  | 3. Flow depreciation % (applied on 1.) | 0 |
|  | 4. Total (USgpm) | 750 |
|  | 5.Discharge static head (ft fluid) | 40 |
|  | 6. Suction static head (ft fluid) | 10 |
|  | 7. Total static head (ft fluid) | 20 |

Calculations

8. Pipe and fittings friction (ft fluid) (calc. on 1.)

Comments:

9. Equipment friction (ft fluid) (based on 1.)

10. Velocity head (ft fluid)

11. Sub-total (ft fluid) (7+8+9+10+11)

12. Total head contingency (ft fluid) (applied on 8, 9, 10)

13. Total head depreciation (ft fluid) (applied on 8, 9, 10)

14. Total head (ft fluid)